| Organisation | Document Written guidelines, work at height |  |
| --- | --- | --- |
| Created by | Document owner | Version 1 |
| Approved by | Approval date 2027-04-02 | Effective from 2027-04-02 |

Purpose

Ensure that everyone working at height carries out the work safely.

Definition

Work at height includes:

- Work above ground/floor level

- Any work at a height of 2 metres or more

- Situations where a person could fall from an edge, through a fragile surface or through an opening

- Situations where a person could fall from ground level through an opening, for example in a floor or a hole in the ground

Work at height does not include slipping or tripping on the same level. A fall from height means a fall from one level to a lower level and does not include going up or down a permanent staircase in a building.

Guidelines

It is important that everyone follows these guidelines every time work at height is carried out.

Immediate manager

To ensure the safety of employees, I as the immediate manager must:

- Check that this is the safest available method for working at height.

- Implement and apply the rules and requirements that apply to work using ladders, personnel lifts/work platforms and other temporary solutions for work at height.

- Ensure that those carrying out the work understand the limitations and risks associated with temporary access routes.

- Check that equipment inspections have been carried out before the equipment is used by personnel.

- Ensure that the person carrying out the work is competent, authorised and has appropriate training in the fall protection equipment to be used.

- Check that warning signs providing information about ongoing work at height are in place.

- Check that warning signs for falling objects are in place.

Employee

Before starting work, I as an employee must:

- Check the certification of the equipment (scaffolding, ladders, etc.).

- Ensure that scaffolding has been erected by certified personnel. This also applies to other equipment, for example mobile elevating work platforms (MEWPs).

- Carry out a risk analysis and then follow it together with the work description.

- Not work from a ladder without a valid risk analysis.

- Use the correct personal protective equipment (PPE) for the work.

- Be physically fit to use the equipment.

- Check the weather conditions before starting and throughout the work.

- Have appropriate training.

- Cordon off the work area and put up signs providing information about the work.

While carrying out the work, I as an employee must:

- Ensure that all protective equipment is in place and used correctly (safety nets, guardrails, handrails, etc.).

- Ensure that I comply with the applicable safety rules.

- Use appropriate personal protective equipment for the task and use the equipment correctly.

- Ensure that ladders are anchored/secured at both the top and bottom.

- Report all accidents and hazardous events, such as incidents/near misses, non-conformities, risk observations or similar events.

- Only use a ladder as an access route.

After completing the work, I as an employee must:

- Clean my work area and ensure that no safety risks remain.

- Immediately remove damaged and/or otherwise defective equipment from the workplace and then inform site management without delay.

- Not leave tools or other equipment at height or out on the worksite; take them back and store them locked away and/or separated from unauthorised persons.

Templates, documents, appendices, guidelines and procedures linked to these guidelines